FORM OF CONFORMITY

Record of Scientific Distance Measurement (EDM / VDM)

“To ensure that the equipment is operating correctly, the Measurement Judge (Scientific) shall, before and after the event, supervise a set of measurements in conjunction with the Judges and under the supervision of the Referee (and if possible, the ITO assigned to the event), to confirm agreement with results achieved using a calibrated certified steel tape. A form of conformity shall be issued and signed by all those involved in the test and attached to the results card.” (IAAF Rule 137)

| Name and Place of Facility: |  |
| --- | --- |
| Event: |  | M W |
| Date: |  | Start Time: |  | Finish Time: |  |

| Measurement Service Provider: |  |
| --- | --- |
| Measuring Device | Type: |  | Model: |  |
|  | Manufacturer: |  | Serial Number: |  |

| Control Measurements (spread over area for horizontal events) |
| --- |
| Steel Tape Number: |  |
| Before Event | Measurement: | Percentage of expected average result | Steel Tape / Bar Distance / Height | EDM / VDM Distance / Height |
|  | Very close: | approx. 50% |  |  |
|  | Close: | approx. 70% |  |  |
|  | Mid distance: | approx. 85% |  |  |
|  | Far: | approx. 100% |  |  |
|  | Very far: | approx. 120% |  |  |
|  | Temperature °C / Humidity: |  | Time: |  |
| After Event | Measurement: | Percentage of best result | Steel Tape / Bar Distance / Height | EDM / VDM Distance / Height |
|  | Very close: | approx. 50% |  |  |
|  | Close: | approx. 65% |  |  |
|  | Mid distance: | approx. 80% |  |  |
|  | Far: | approx. 90% |  |  |
|  | Very far: | approx. 100% |  |  |
|  | Temperature °C / Humidity: |  | Time: |  |

| Provider’s Rep.: (Name) |  | Measurement Judge: (Name) |  |
| --- | --- | --- | --- |
| Signature: |  | Signature: |  |

| Referee: (Name) |  | ITO: (Name) |  |
| --- | --- | --- | --- |
| Signature: |  | Signature: |  |